|  |  |  |
| --- | --- | --- |
| **Issued to:** |  | BERMAD INC |
| 3816 S Willow Ave, Number 101 Fresno, CA 93725  United States |
|  |  |  |
| **This is to certify that**  **representative samples of** |  | **VLTR - Accessories for Special Systems** |
| **See Addendum Page for Product Designation(s).** |
|  |  |  |
| UL-US-2303836-2 |  | Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate. |
|  |  |  |
| **Standard(s) for Safety:** |  | UL 429, 7th Ed., Issue Date: 2013-11-6, Revision Date: 2021-3-19 |
| **Additional Information:** |  | See the UL Online Certifications Directory at <https://iq.ulprospector.com> for additional information |

EX28051-20190325

This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.

Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.

Look for the UL Certification Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements

|  |  |
| --- | --- |
|  |  |
| **Model** | **Category Description** |
| BE270, 2-Way Solenoid Valve, followed by suffix numbers and letters, maximum working pressure 365 psi / 25 bar. For use in releasing water pressure from the control trim or releasing water pressure from the pilot line of special-system water-control valves deluge type automatically, when actuated by electrical detectors or remote control. Electrical ratings: 24V, 110V, 220V, 50/60/DC, 8 Watts and 24 VDC, 3 Watts latch coil. | Electrically operated solenoid valves |
| BE370D, 3-Way Solenoid Valve, followed by suffix numbers and letters, maximum working pressure 365 psi / 25 bar. For use in releasing water or air pressure from the control trim of special-system water-control valves deluge type automatically, when actuated by electrical detectors or remote control. Electrical ratings: 24V, 110V, 220V, 50/60/DC, 8 Watts | Electrically operated solenoid valves |
| BE370D-U, 3-Way Solenoid Valve, followed by suffix numbers and letters, maximum working pressure 365 psi / 25 bar. For use in releasing water or air pressure from the control trim of special-system water-control valves deluge type automatically, when actuated by electrical detectors or remote control. Electrical ratings: 24 VDC, 3 Watts with latch coil. | Electrically operated solenoid valves |

|  |  |  |
| --- | --- | --- |
| **Issued to:** |  | BERMAD INC |
| 3816 S Willow Ave, Number 101 Fresno, CA 93725  United States |
|  |  |  |
| **This is to certify that**  **representative samples of** |  | **VLTR7 - Accessories for Special Systems Certified for Canada** |
| **See Addendum Page for Product Designation(s).** |
|  |  |  |
| UL-CA-2303368-2 |  | Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate. |
|  |  |  |
| **Standard(s) for Safety:** |  | ULC/ORD C260, 1st Ed., Issue Date: 1975-02-28 |
| **Additional Information:** |  | See the UL Online Certifications Directory at <https://iq.ulprospector.com> for additional information |

EX28051-20190325

This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.

Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.

Look for the UL Certification Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements

|  |  |
| --- | --- |
|  |  |
| **Model** | **Category Description** |
| BE270, 2-Way Solenoid Valve, followed by suffix numbers and letters, maximum working pressure 365 psi / 25 bar. For use in releasing water pressure from the control trim or releasing water pressure from the pilot line of special-system water-control valves deluge type automatically, when actuated by electrical detectors or remote control. Electrical ratings: 24V, 110V, 220V, 50/60/DC, 8 Watts and 24 VDC, 3 Watts latch coil. | Electrically operated solenoid valves |
| BE370D, 3-Way Solenoid Valve, followed by suffix numbers and letters, maximum working pressure 365 psi / 25 bar. For use in releasing water or air pressure from the control trim of special-system water-control valves deluge type automatically, when actuated by electrical detectors or remote control. Electrical ratings: 24V, 110V, 220V, 50/60/DC, 8 Watts | Electrically operated solenoid valves |
| BE370D-U, 3-Way Solenoid Valve, followed by suffix numbers and letters, maximum working pressure 365 psi / 25 bar. For use in releasing water or air pressure from the control trim of special-system water-control valves deluge type automatically, when actuated by electrical detectors or remote control. Electrical ratings: 24 VDC, 3 Watts with latch coil. | Electrically operated solenoid valves |