| Issued to: |  | Bermad Inc |
| --- | --- | --- |
|  |  | 3816 S Willow Ave, Number 101 Fresno, CA 93725 |
| This certificate confirms that representative samples of |  | Special System Water Control Valves, Pressure-Reducing and Pressure-Control Type |
|  |  | Refer to the Addendum Page for Models |
|  |  | Have been investigated by UL in accordance with the Standard(s) indicated on this Certificate. |
| Standard(s) for Safety: |  | UL 1739, Pilot-Operated Pressure-Control Valves ULC/ORD C312, Check Valves for Fire Protection Service |
| Additional Information: |  | See the UL Online Certifications Directory at https://iq.ulprospector.com for additional information. |

This Certificate of Compliance does not provide authorization to apply the UL Mark.  Only the UL Follow-Up Services Procedure provides authorization to apply the UL Mark.

Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.

Look for the UL Certification Mark on the product.

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

Pilot-Operated Pressure Control Valves:

| Model | Size (in.) | End Configuration, (inlet x outlet) | Max Rated Inlet Pressure, psig (kPa) | Outlet Pressure Setting Range, psig (kPa) |
| --- | --- | --- | --- | --- |
| 42T | 1-1/2, 2, 2-1/2 | Flanged x Flanged (Class 150), NPT x NPT | 400 (2760) USL 365 (2515) CNL | 60-220 psig (413-1378) |
| 42T | 3, 4, 6, 8, 10 | Flanged x Flanged (Class 150) | 250 (1720) | 60-175 (413-1210) |
| 42T | 12, 14, 16 | Flanged x Flanged (Class 150) | 250 (1720) | 60-175 (413-1210) |
| 42T | 1-1/2, 2, 2-1/2, 3, 4, 6, 8 | Grooved x Grooved | 365 (2515) | 60-175 (413-1210) |
| 42T | 1-1/2, 2 | NPT x NPT | 400 (2760) USL 365 (2515) CNL | 60-220 psig (413-1378) |
| 42T | 1-1/2, 2, 2-1/2, 3, 4, 6, 8, 10 | Flanged x Flanged (Class 300) | 365 (2515) | 60-175 (413-1210) |
| 42T | 12, 14, 16 | Flanged x Flanged (Class 300) | 300 (2070) | 60-175 (413-1210) |