Document no : 	D-191023-CK

Date :			19th October 2013

Revision no :		Rev 1

Questionnaire to enable correct Electromagnetic Flow Meter Selection

In order to correctly select the optimum electromagnetic flow meter for your application we require to best understand your installation requirements.  If this questionnaire can be returned to BWT, we can ensure the correct product is supplied fit for purpose.

- Liquid being measured :  Dam Water / River Water / Drinking Water/ Stormwater / Treated Effluent / Raw Effluent / Other :	……………………………………….

- Pressure of liquid being measured : …………………………………Kpa

- Inside diameter of the pipe :  …………………………………………mm

- Pipe material : ……………………………………………………….

- What is the flow range for the meter :  …………..L/s to  ……………L/s

- What power source do you require :  Battery / Solar , 12-24VDC / 12-24VAC / 240VAC

- Is the coverter compact mounted to the sensor :  Yes  / No

- If the sensor is remote how much cable is required : ……………….m

- Do you require any specific external certification  : ………………

- Do you require outputs : Pulse…….  Analogue ………  Modbus………. Hart …….

- Additional comments : ……………………………………………………………….

………………………………………………………………………………………...

…………………………………………………………………………………………

Submitted by : ……………………………………….   Date ……../………../………..

Project name : (optional) ………………………………………………………………