| Issued to: |  | BERMAD INC |
| --- | --- | --- |
|  |  | 9424 W LITTLE YORK RD HOUSTON TX 77040-3316 |
| This is to certify that representative samples of |  | FIRE PUMP RELIEF VALVES; FIRE PUMP RELIEF VALVES |
|  |  | Fire pump relief valve, Model 430 globe body patterns in the 2, 3, 4 and 6 in. sizes for use where the maximum relief pressure does not exceed 175 psi. |
|  |  | Have been investigated by UL in accordance with the Standard(s) indicated on this Certificate. |
| Standard(s) for Safety: |  | UL1478, Safety for Fire Pump Relief Valves. |
| Additional Information: |  | See the UL Online Certifications Directory at www.ul.com/database for additional information |

Only those products bearing the UL Certification Mark should be considered as being covered by UL's Certification and Follow-Up Service.

Look for the UL Certification Mark on the product.

| Issued to: |  | BERMAD INC |
| --- | --- | --- |
|  |  | 9424 W LITTLE YORK RD HOUSTON TX 77040-3316 |
| This is to certify that representative samples of |  | FIRE PUMP RELIEF VALVES; FIRE PUMP RELIEF VALVES |
|  |  | Fire pump relief valve, Model 430 globe body patterns in the 2, 3, 4 and 6 in. sizes for use where the maximum relief pressure does not exceed 175 psi. |
|  |  | Have been investigated by UL in accordance with the Standard(s) indicated on this Certificate. |
| Standard(s) for Safety: |  | NFPA 20, Installation of Stationary Pumps for Fire Protection. |
| Additional Information: |  | See the ULC Online Certification Directory at www.ulc.ca for additional information |

Only those products bearing the ULC Listing Mark should be considered as being covered by ULC's Listing and Follow-Up Service.

The ULC Listing Mark generally includes the following elements: the symbol ULC in a circle:  with the word “LISTED”; a control number (may be alphanumeric) assigned by ULC; and the product category name (product identifier) as indicated in the appropriate ULC Directory.

To confirm the status, validate the above information via the online directory.

Look for the ULC Listing Mark on the product.